## PCR
Clinical Secondary Assays Run Notes: Size Determination and Digests
Approved: 08/08/2019 | [7 empty] | Ref ID: | 137 | v. 3
Next Review: 08/08/2020
|  |  | Secondary PCR Worksheet |  |  |  |  | Add DNA template (1 µL, 20ng/ul)
2020-02-03
overage is already calculated
SLC4A3_SD2_PET |  | Samples #: | 20 | PMEL_SD3_VIC |  | Samples #: | 29 | CHC_1MPZ |  | Samples #: | 13
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 100 |  | Qiagen | 5 | 145 |  | ZymoTaq | 5 | 65
DMSO | 0.5 | 10 |  |  |  | 0 |  | DMSO | 0.5 | 6.5
Water, PCR certified | 1.5 | 30 |  | Water, PCR certified | 2 | 58 |  | Water, PCR certified | 1.5 | 19.5
1 µM primer | 2 | 40 |  | 1 µM primer | 2 | 58 |  | 1 µM primer | 2 | 26
Total | 9 | 180 | ☐ | Total | 9 | 261 | ☐ | Total | 9 | 117 | ☐
PMEL_intSD7_NED |  | Samples #: | 29 | SLC4A3_SD3_FAM |  | Samples #: | 20 | PMEL_SD4_FAM |  | Samples #: | 28
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 145 |  | ZymoTaq | 5 | 100 |  | Qiagen | 5 | 140
DMSO | 0.5 | 14.5 |  | DMSO | 0.5 | 10 |  |  |  | 0
Water, PCR certified | 1.5 | 43.5 |  | Water, PCR certified | 1.5 | 30 |  | Water, PCR certified | 2 | 56
1 µM primer | 2 | 58 |  | 1 µM primer | 2 | 40 |  | 1 µM primer | 2 | 56
Total | 9 | 261 | ☐ | Total | 9 | 180 | ☐ | Total | 9 | 252 | ☐
CBD103_STA_NED |  | Samples #: | 6 | CLN5_949del_SD2_VIC |  | Samples #: | 4.5 | CHC_1MPQ1 |  | Samples #: | 13
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 30 |  | ZymoTaq | 5 | 22.5 |  | Qiagen | 5 | 65
DMSO | 0.5 | 3 |  | DMSO | 0.5 | 2.25 |  |  |  | 0
Water, PCR certified | 1.5 | 9 |  | Water, PCR certified | 1.5 | 6.75 |  | Water, PCR certified | 2 | 26
1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 26
Total | 9 | 54 | ☐ | Total | 9 | 40.5 | ☐ | Total | 9 | 117 | ☐
CHC_1MPQ2 |  | Samples #: | 13 | CLN5_949del_SD8_PET |  | Samples #: | 4.5 | ATP7B_112GA_RD_2 |  | Samples #: | 14
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 65 |  | ZymoTaq | 5 | 22.5 |  | ZymoTaq | 5 | 70
|  | 0 |  | DMSO | 0.5 | 2.25 |  | DMSO | 0.5 | 7
Water, PCR certified | 2 | 26 |  | Water, PCR certified | 1.5 | 6.75 |  | Water, PCR certified | 0 | 0
1 µM primer | 2 | 26 |  | 1 µM primer | 2 | 9 |  | 1 µM primer | 3.5 | 49
Total | 9 | 117 | ☐ | Total | 9 | 40.5 | ☐ | Total | 9 | 126 | ☐
SOD1_AT_SD_4 |  | Samples #: | 10 | MC5R_748AG_RD_1 |  | Samples #: | 7 | PLA2G6_820GA_RD_2 |  | Samples #: | 8
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 50 |  | Qiagen | 5 | 35 |  | ZymoTaq | 5 | 40
DMSO | 0.5 | 5 |  |  |  | 0 |  | DMSO | 0.5 | 4
Water, PCR certified | 1.5 | 15 |  | Water, PCR certified | 2 | 14 |  | Water, PCR certified | 1.5 | 12
1 µM primer | 2 | 20 |  | 1 µM primer | 2 | 14 |  | 1 µM primer | 2 | 16
Total | 9 | 90 | ☐ | Total | 9 | 63 | ☐ | Total | 9 | 72 | ☐
F7_895GA_RD_3 |  | Samples #: | 8 | SLC2A9_RD_1z |  | Samples #: | 8 | MYH9_AA_1 |  | Samples #: | 3.5
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 40 |  | Qiagen | 5 | 40 |  | Qiagen | 5 | 17.5
DMSO | 0.5 | 4 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 1.5 | 12 |  | Water, PCR certified | 2 | 16 |  | Water, PCR certified | 2 | 7
1 µM primer | 2 | 16 |  | 1 µM primer | 2 | 16 |  | 1 µM primer | 2 | 7
Total | 9 | 72 | ☐ | Total | 9 | 72 | ☐ | Total | 9 | 31.5 | ☐
tRNA_Tyr_304Del_RD1 |  | Samples #: | 4.5 | PSMB7_RD_1 |  | Samples #: | 6 | SERPINH1_735TC_RD1 |  | Samples #: | 7
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 22.5 |  | Qiagen | 5 | 30 |  | Qiagen | 5 | 35
DMSO | 0.5 | 2.25 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 1.5 | 6.75 |  | Water, PCR certified | 2 | 12 |  | Water, PCR certified | 2 | 14
1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 14
Total | 9 | 40.5 | ☐ | Total | 9 | 54 | ☐ | Total | 9 | 63 | ☐
ATP7B_112GA_RD_5 |  | Samples #: | 4.5 | AMN_GA_RD_3 |  | Samples #: | 4.5 | CLN6_875TC_RD_1 |  | Samples #: | 7
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 22.5 |  | ZymoTaq | 5 | 22.5 |  | Qiagen | 5 | 35
DMSO | 0.5 | 2.25 |  | DMSO | 0.5 | 2.25 |  |  |  | 0
Water, PCR certified | 1.5 | 6.75 |  | Water, PCR certified | 1.5 | 6.75 |  | Water, PCR certified | 2 | 14
1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 14
Total | 9 | 40.5 | ☐ | Total | 9 | 40.5 | ☐ | Total | 9 | 63 | ☐
DNM1_AA_2 |  | Samples #: | 6 | COL11A2_874GC_RD1 |  | Samples #: | 13 | ATP7A_237CT_RD_1 |  | Samples #: | 14
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 30 |  | Qiagen | 5 | 65 |  | ZymoTaq | 5 | 70
|  | 0 |  |  |  | 0 |  | DMSO | 0.5 | 7
Water, PCR certified | 2 | 12 |  | Water, PCR certified | 2 | 26 |  | Water, PCR certified | 1.5 | 21
1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 26 |  | 1 µM primer | 2 | 28
Total | 9 | 54 | ☐ | Total | 9 | 117 | ☐ | Total | 9 | 126 | ☐
ATP7A_237CT_RD_4 |  | Samples #: | 14 | COLQ_737TC_RD_1 |  | Samples #: | 4.5 | CLN8_950GA_RD_3 |  | Samples #: | 6
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 70 |  | Qiagen | 5 | 22.5 |  | Qiagen | 5 | 30
DMSO | 0.5 | 7 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 1.5 | 21 |  | Water, PCR certified | 2 | 9 |  | Water, PCR certified | 2 | 12
1 µM primer | 2 | 28 |  | 1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 12
Total | 9 | 126 | ☐ | Total | 9 | 40.5 | ☐ | Total | 9 | 54 | ☐
ATP7A_237CT_RD_2 |  | Samples #: | 4.5 | ATP7B_112GA_RD_4 |  | Samples #: | 14 | SOD1_AT_RD2 |  | Samples #: | 10
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 22.5 |  | ZymoTaq | 5 | 70 |  | ZymoTaq | 5 | 50
DMSO | 0.5 | 2.25 |  | DMSO | 0.5 | 7 |  | DMSO | 0.5 | 5
Water, PCR certified | 1.5 | 6.75 |  | Water, PCR certified | 1.5 | 21 |  | Water, PCR certified | 1.5 | 15
1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 28 |  | 1 µM primer | 2 | 20
Total | 9 | 40.5 | ☐ | Total | 9 | 126 | ☐ | Total | 9 | 90 | ☐
MC5R_748AG_RD_2 |  | Samples #: | 7 | PLA2G6_820GA_RD_3 |  | Samples #: | 8 | F7_895GA_RD_4 |  | Samples #: | 8
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 35 |  | ZymoTaq | 5 | 40 |  | ZymoTaq | 5 | 40
|  | 0 |  | DMSO | 0.5 | 4 |  | DMSO | 0.5 | 4
Water, PCR certified | 2 | 14 |  | Water, PCR certified | 1.5 | 12 |  | Water, PCR certified | 1.5 | 12
1 µM primer | 2 | 14 |  | 1 µM primer | 2 | 16 |  | 1 µM primer | 2 | 16
Total | 9 | 63 | ☐ | Total | 9 | 72 | ☐ | Total | 9 | 72 | ☐
SUV39H2_RD_3 |  | Samples #: | 4.5 | ASIP[C>T]_MA |  | Samples #: | 4.5 | RASGRP1_1_AA_1 |  | Samples #: | 3.5
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 22.5 |  | Qiagen | 5 | 22.5 |  | Qiagen | 5 | 17.5
|  | 0 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 2 | 9 |  | Water, PCR certified | 2 | 9 |  | Water, PCR certified | 2 | 7
1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 7
Total | 9 | 40.5 | ☐ | Total | 9 | 40.5 | ☐ | Total | 9 | 31.5 | ☐
SLC3A1_948DelG_RD_2 Mod 6 |  | Samples #: | 6 | RPGRIP1 |  | Samples #: | 51 | ADAMTS17_852Del_SD_3 |  | Samples #: | 7
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 30 |  | Qiagen | 5 | 255 |  | ZymoTaq | 5 | 35
|  | 0 |  |  |  | 0 |  | DMSO | 0.5 | 3.5
Water, PCR certified | 2 | 12 |  | Water, PCR certified | 2 | 102 |  | Water, PCR certified | 1.5 | 10.5
1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 102 |  | 1 µM primer | 2 | 14
Total | 9 | 54 | ☐ | Total | 9 | 459 | ☐ | Total | 9 | 63 | ☐
DIRAS1_564Del_SD_1 |  | Samples #: | 3.5 | BCAN_B_SD_1/C_SD_5 |  | Samples #: | 7 | CNGA1_897Del_SD_2 |  | Samples #: | 4.5
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 17.5 |  | ZymoTaq | 5 | 35 |  | Qiagen | 5 | 22.5
DMSO | 0.5 | 1.75 |  | DMSO | 0.5 | 3.5 |  |  |  | 0
Water, PCR certified | 1.5 | 5.25 |  | Water, PCR certified | 1.5 | 10.5 |  | Water, PCR certified | 2 | 9
1 µM primer | 2 | 7 |  | 1 µM primer | 2 | 14 |  | 1 µM primer | 2 | 9
Total | 9 | 31.5 | ☐ | Total | 9 | 63 | ☐ | Total | 9 | 40.5 | ☐
PAMSA-MLPH-1 |  | Samples #: | 9 | ADAMTS17_852Del_SD_2 |  | Samples #: | 7 | DMD_C_AA_C_3 |  | Samples #: | 6
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 45 |  | ZymoTaq | 5 | 35 |  | Qiagen | 5 | 30
|  | 0 |  | DMSO | 0.5 | 3.5 |  |  |  | 0
Water, PCR certified | 2 | 18 |  | Water, PCR certified | 1.5 | 10.5 |  | Water, PCR certified | 2 | 12
1 µM primer | 2 | 18 |  | 1 µM primer | 2 | 14 |  | 1 µM primer | 2 | 12
Total | 9 | 81 | ☐ | Total | 9 | 63 | ☐ | Total | 9 | 54 | ☐
PAMSA-SOD1-1 |  | Samples #: | 9 | VWFI[G/A]_PMSA_3 Mod 5 |  | Samples #: | 23 | TYRP1[T-A]_PMSA_2 Mod 1 |  | Samples #: | 6
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 45 |  | Qiagen | 5 | 115 |  | Qiagen | 5 | 30
|  | 0 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 2 | 18 |  | Water, PCR certified | 2 | 46 |  | Water, PCR certified | 2 | 12
1 µM primer | 2 | 18 |  | 1 µM primer | 2 | 46 |  | 1 µM primer | 2 | 12
Total | 9 | 81 | ☐ | Total | 9 | 207 | ☐ | Total | 9 | 54 | ☐
RPGRIP1_SD_2 |  | Samples #: | 51 | DIRAS1_564Del_SD_2 |  | Samples #: | 3.5 | CNGA1_897Del_SD_3 |  | Samples #: | 4.5
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 255 |  | ZymoTaq | 5 | 17.5 |  | Qiagen | 5 | 22.5
|  | 0 |  | DMSO | 0.5 | 1.75 |  |  |  | 0
Water, PCR certified | 2 | 102 |  | Water, PCR certified | 1.5 | 5.25 |  | Water, PCR certified | 2 | 9
1 µM primer | 2 | 102 |  | 1 µM primer | 2 | 7 |  | 1 µM primer | 2 | 9
Total | 9 | 459 | ☐ | Total | 9 | 31.5 | ☐ | Total | 9 | 40.5 | ☐
DMD_670Ins_SD_1 |  | Samples #: | 6 | AMN GA_RD_5 |  | Samples #: | 36 | AMN_GA_RD_1 |  | Samples #: | 36
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 30 |  | ZymoTaq | 5 | 180 |  | ZymoTaq | 5 | 180
DMSO | 0.5 | 3 |  | DMSO | 0.5 | 18 |  | DMSO | 0.5 | 18
Water, PCR certified | 1.5 | 9 |  | Water, PCR certified | 1.5 | 54 |  | Water, PCR certified | 1.5 | 54
1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 72 |  | 1 µM primer | 2 | 72
Total | 9 | 54 | ☐ | Total | 9 | 324 | ☐ | Total | 9 | 324 | ☐
NHEJ1_028Del_SD4 |  | Samples #: | 4.5 | NHEJ1[Del]_A+B_SD_2 |  | Samples #: | 58 | FAM134B_639Inv_SD6 |  | Samples #: | 6
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 22.5 |  | Qiagen | 5 | 290 |  | ZymoTaq | 5 | 30
|  | 0 |  |  |  | 0 |  | DMSO | 0.5 | 3
Water, PCR certified | 2 | 9 |  | Water, PCR certified | 2 | 116 |  | Water, PCR certified | 1.5 | 9
1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 116 |  | 1 µM primer | 2 | 12
Total | 9 | 40.5 | ☐ | Total | 9 | 522 | ☐ | Total | 9 | 54 | ☐
FAM134B_639Inv_SD1 |  | Samples #: | 6 | NPHP4_SDM_1 |  | Samples #: | 6 | NPHP4_SDM_2 |  | Samples #: | 6
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 30 |  | Qiagen | 5 | 30 |  | Qiagen | 5 | 30
DMSO | 0.5 | 3 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 1.5 | 9 |  | Water, PCR certified | 2 | 12 |  | Water, PCR certified | 2 | 12
1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 12
Total | 9 | 54 | ☐ | Total | 9 | 54 | ☐ | Total | 9 | 54 | ☐
NHEJ1_A_SD_1 |  | Samples #: | 4.5 | PTPLA_988Ins_SD_5 |  | Samples #: | 33 | SLC13A1_771Del_SD_1+2 |  | Samples #: | 29
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 22.5 |  | Qiagen | 5 | 165 |  | Qiagen | 5 | 145
|  | 0 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 2 | 9 |  | Water, PCR certified | 2 | 66 |  | Water, PCR certified | 2 | 58
1 µM primer | 2 | 9 |  | 1 µM primer | 2 | 66 |  | 1 µM primer | 2 | 58
Total | 9 | 40.5 | ☐ | Total | 9 | 297 | ☐ | Total | 9 | 261 | ☐
ASIP_283Ins_SD_3 |  | Samples #: | 44 | CNGB3_SD_B_2 |  | Samples #: | 38 | CNGB3_SD_C_2_1 |  | Samples #: | 38
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 220 |  | Qiagen | 5 | 190 |  | Qiagen | 5 | 190
|  | 0 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 2 | 88 |  | Water, PCR certified | 2 | 76 |  | Water, PCR certified | 2 | 76
1 µM primer | 2 | 88 |  | 1 µM primer | 2 | 76 |  | 1 µM primer | 2 | 76
Total | 9 | 396 | ☐ | Total | 9 | 342 | ☐ | Total | 9 | 342 | ☐
FAM134B_639Inv_SD4 |  | Samples #: | 6 | FAM134B_639Inv_SD5 |  | Samples #: | 6 | RSPO2_419Ins_SD6 |  | Samples #: | 46
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 30 |  | ZymoTaq | 5 | 30 |  | Qiagen | 5 | 230
DMSO | 0.5 | 3 |  | DMSO | 0.5 | 3 |  |  |  | 0
Water, PCR certified | 1.5 | 9 |  | Water, PCR certified | 1.5 | 9 |  | Water, PCR certified | 2 | 92
1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 12 |  | 1 µM primer | 2 | 92
Total | 9 | 54 | ☐ | Total | 9 | 54 | ☐ | Total | 9 | 414 | ☐
MITF_232Del_SDM_5 |  | Samples #: | 58 | RSPO2_419Ins_MA_2 |  | Samples #: | 46 | MITF_232Del_SD_5 |  | Samples #: | 58
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
ZymoTaq | 5 | 290 |  | Qiagen | 5 | 230 |  | Qiagen | 5 | 290
DMSO | 0.5 | 29 |  |  |  | 0 |  |  |  | 0
Water, PCR certified | 1.5 | 87 |  | Water, PCR certified | 2 | 92 |  | Water, PCR certified | 2 | 116
1 µM primer | 2 | 116 |  | 1 µM primer | 2 | 92 |  | 1 µM primer | 2 | 116
Total | 9 | 522 | ☐ | Total | 9 | 414 | ☐ | Total | 9 | 522 | ☐
PTPLA_988Ins_SD_6 |  | Samples #: | 33 | SLC13A1_771Del_SD_3+4 |  | Samples #: | 29 | ASIP_283Ins_SDM_3 |  | Samples #: | 44
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
Qiagen | 5 | 165 |  | Qiagen | 5 | 145 |  | ZymoTaq | 5 | 220
|  | 0 |  |  |  | 0 |  | DMSO | 0.5 | 22
Water, PCR certified | 2 | 66 |  | Water, PCR certified | 2 | 58 |  | Water, PCR certified | 1.5 | 66
1 µM primer | 2 | 66 |  | 1 µM primer | 2 | 58 |  | 1 µM primer | 2 | 88
Total | 9 | 297 | ☐ | Total | 9 | 261 | ☐ | Total | 9 | 396 | ☐
|  | Samples #: |  |  |  | Samples #: |  |  |  | Samples #:
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
| 5 | 0 |  |  | 5 | 0 |  |  | 5 | 0
|  | 0 |  |  |  | 0 |  |  | 0.5 | 0
Water, PCR certified | 2 | 0 |  | Water, PCR certified | 2 | 0 |  | Water, PCR certified | 1.5 | 0
1 µM primer | 2 | 0 |  | 1 µM primer | 2 | 0 |  | 1 µM primer | 2 | 0
Total | 9 | 0 | ☐ | Total | 9 | 0 | ☐ | Total | 9 | 0 | ☐
|  | Samples #: |  |  |  | Samples #: |  |  |  | Samples #:
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
| 5 | 0 |  |  | 5 | 0 |  |  | 5 | 0
|  | 0 |  |  |  | 0 |  |  | 0.5 | 0
Water, PCR certified | 2 | 0 |  | Water, PCR certified | 2 | 0 |  | Water, PCR certified | 1.5 | 0
1 µM primer | 2 | 0 |  | 1 µM primer | 2 | 0 |  | 1 µM primer | 2 | 0
Total | 9 | 0 | ☐ | Total | 9 | 0 | ☐ | Total | 9 | 0 | ☐
|  | Samples #: |  |  |  | Samples #: |  |  |  | Samples #:
| V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ |  | V(1x)(uL) | Vt (uL) | þ
| 5 | 0 |  |  | 5 | 0 |  |  | 5 | 0
|  | 0 |  |  |  | 0 |  |  | 0.5 | 0
Water, PCR certified | 2 | 0 |  | Water, PCR certified | 2 | 0 |  | Water, PCR certified | 1.5 | 0
1 µM primer | 2 | 0 |  | 1 µM primer | 2 | 0 |  | 1 µM primer | 2 | 0
Total | 9 | 0 | ☐ | Total | 9 | 0 | ☐ | Total | 9 | 0 | ☐

## Sheet1
primer pair | pcr kit | annealing temp | aa size | ab size | bb size
ABCB1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
ABCB1_SD_1 (Size Determination) | Qiagen | 60 | 61 | 61,57 | 57
ABCB4_AA_4 (Access Array) | Qiagen | 60 | None | None | None
ABCB4_AA_4 (Access Array) | Qiagen | 60 | 184,71,63,34 | 184,98,71,34 | 184,98,71
ADAM9_AA_A_2 (Access Array) | Qiagen | 60 | 367 | 367 | 0
ADAM9_AA_B_4 (Access Array) | Qiagen | 60 | 338 | 338 | 0
ADAM9_AA_C_1 (Access Array) | Qiagen | 60 | 0 | 508 | 508
ADAMTS10_AA_1z (Access Array) | Qiagen | 60 | 210133 | 345210133 | 345
ADAMTS17_852Del_SD_1 (Size Determination) | ZymoTaq | 60 | 122 | 122, 103 | 103
ADAMTS17_852Del_SD_2 (Size Determination) | ZymoTaq | 63 | 192 | 192, 173 | 173
ADAMTS17_852Del_SD_3 (Size Determination) | ZymoTaq | 60 | 239 | 239, 220 | 220
ADAMTS17_AA_1 (Access Array) | Qiagen | 60 | None | None | None
ADAMTSL2_AA_1 (Access Array) | Qiagen | 60 | 199, 147 | 346, 199, 147 | 346
AGL_AA_1 (Access Array) | Qiagen | 60 | None | None | None
AGXT_AA_1 (Access Array) | Qiagen | 60 | 346 | 346, 206, 140 | 206, 140
AMHR2_AA_1 (Access Array) | Qiagen | 60 | 124, 196 | 320, 124, 196 | 320
AMN GA_RD_5 (Size Determination) | ZymoTaq | 62 | 43,36 | 79,43,36 | 79
AMN_GA_RD_1 (Size Determination) | ZymoTaq | 65 | 289,87 | 376,289,87 | 376
AMN_GA_RD_3 (Size Determination) | ZymoTaq | 61 | 109,46 | 155,109,46 | 155
AP3B1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
AP3B1_MC_3_Forward (Mass-Cleave Forward) | Sequenom | 62 | 7251.6 | 7251.6,7580.8 | 7580.8
AP3B1_MC_4_Forward (Mass-Cleave Forward) | Sequenom | 62 | 7251.6 | 7251.6,7580.8 | 7580.8
ARSG_AA_1 (Access Array) | Qiagen | 60 | 208,92,25,24 | 233,208,92,25,24 | 233,92,24
ARSG_chr9:15,071,276[G/A] (SNP-Type) | Qiagen | 60 | 12,25,38 | 12,25,38,63 | 12,63
ASIP[A>G]_MA (Mass Array) | Qiagen
ASIP[C>T]_MA (Mass Array) | Qiagen | 60 | 80,67,12 | 80,71,67,12,9 | 71,67,12,9
ASIP[C>T]_MA (Mass Array) | Qiagen | 60 | 77,61,19,12 | 77,61,52,19,12,9 | 77,52,19,12,9
ASIP[ins]_MA (Mass Array) | Qiagen | 60 | 109 | 348109 | 348
ASIP[ins]_MA_1 (Size Determination) | Qiagen | 60 | 114 | 297114 | 297
ASIP[ins]_MA_2 (Size Determination) | Qiagen | 60 | 120 | 303120 | 303
ASIP_283Ins_SDM_3 (Size Determination) | ZymoTaq | 60 | 239 | 239182463 | 182463
ASIP_283Ins_SDM_4 (Size Determination) | Qiagen | 60 | 236 | 236317460 | 317460
ASIP_283Ins_SD_1 (Size Determination) | Qiagen | 60 | 0 | 306 | 306
ASIP_283Ins_SD_3 (Size Determination) | Qiagen | 60 | 120 | 120344 | 344
ASIP_283Ins_SD_4 (Size Determination) | Qiagen | 60 | 178 | 178402 | 402
ATF2_AA_2 (Access Array) | Qiagen | 60 | 223, 146 | 223, 188, 146, 35 | 188, 146, 35
ATF2_RD_2 (Size Determination) | Qiagen | 60 | 201124 | 201,166,124,35 | 166,124,35
ATP13A2_AA_1 (Access Array) | Qiagen | 62 | 302, 63 | 365, 302, 63 | 365
ATP7A_237CT_RD_1 (Size Determination) | Qiagen | 60 | 359, 141, 112 | 500, 359, 141, 112 | 500, 112
ATP7A_237CT_RD_2 (Size Determination) | Qiagen | 60 | 151, 141, 118 | 259, 151, 141, 118 | 259, 151
ATP7A_237CT_RD_3 (Size Determination) | Qiagen | 60 | 230, 141, 105 | 246, 230, 141, 105 | 246, 230
ATP7A_237CT_RD_4 (Size Determination) | Qiagen | 60 | 141,105,43 | 246,141,105,43 | 246,43
ATP7A_237CT_RD_5 (Size Determination) | Qiagen | 60 | 157,141,51 | 192,157,141,51 | 192157
ATP7B_112GA_RD_1 (Size Determination) | ZymoTaq | 56 | 265, 158, 88 | 265, 246, 158, 88 | 265, 246
ATP7B_112GA_RD_2 (Size Determination) | ZymoTaq | 58 | 425, 285, 88 | 513, 425, 285, 88 | 513, 285
ATP7B_112GA_RD_3 (Size Determination) | ZymoTaq | 58 | 418, 146, 88 | 418, 234, 146, 88 | 418, 234
ATP7B_112GA_RD_4 (Size Determination) | ZymoTaq | 58 | 146,59 | 205,146,59 | 205
ATP7B_112GA_RD_5 (Size Determination) | ZymoTaq | 58 | 409,34 | 443,409,34 | 443
ATP7B_112GA_RD_6 (Size Determination) | ZymoTaq | 58 | 265,120,88 | 265,208,120,88 | 265208
BCAN.C_AA_C_1 (Access Array) | Qiagen
BCAN_A_AA_1 (Access Array) | Qiagen | 60 | 333,319,0 | 333319372 | 0,0,372
BCAN_A_SD_1 (Size Determination) | Qiagen | 60 | 289 | 289,0 | 0
BCAN_A_SD_1/C_SD_7 (Size Determination) | ZymoTaq | 60 | 310 | 310130 | 130
BCAN_B_AA_1 (Access Array) | Qiagen | 60 | 333,319,0 | 333319372 | 0,0,372
BCAN_B_AA_1 (Access Array) | Qiagen | 60 | None | None | None
BCAN_B_SD_1/C_SD_5 (Size Determination) | ZymoTaq | 60 | 101 | 115101 | 115
BCAN_C_AA_1 (Access Array) | Qiagen | 60 | 333,319,0 | 333319372 | 0,0,372
BCAN_C_AA_A_1 (Access Array) | Qiagen | 60 | 361 | 361 | 0
BCAN_C_AA_B_1 (Access Array) | Qiagen | 60 | 358 | 358 | 0
BCAN_C_SD_1 (Size Determination) | Qiagen | 60 | 0 | 0,328 | 328
BCAN_C_SD_3 (Size Determination) | ZymoTaq | 60 | 0 | 464 | 464
BCAN_C_SD_4 (Size Determination) | ZymoTaq | 60 | 0 | 543 | 543
BEST1cmr3_MC_1_Forward (Mass-Cleave Forward) | Sequenom | 62 | 4951.115 | 4951.115,5240.3 | 5240.3
BEST1cmr3_MC_2_Forward (Mass-Cleave Forward) | Sequenom | 62 | 4951.115 | 4951.115,5240.3 | 5240.3
BEST1_cmr1_AA_2 (Access Array) | Qiagen | 60 | 280,85 | 280,197,83,85 | 197,83,85
BEST1_cmr2_AA_1 (Access Array) | Qiagen | 60 | None | None | None
BEST1_cmr3_AA_1 (Access Array) | Qiagen | 60 | None | None | None
BIN1_AA_1 (Access Array) | Qiagen | 60 | 354 | 354, 193, 161 | 193, 161
C3_AA_2 (Access Array) | Qiagen | 62 | 182158 | 340, 182, 158 | 340
C3_AA_2 (Access Array) | Qiagen | 62 | 182158 | 340, 182, 158 | 340
CAPN1_AA_1 (Access Array) | Qiagen | 60 | 53316 | 53316369 | 369
CBD103[del3] (SNP-Type) | Qiagen | 60 | 96 | 93,96 | 93
CBD103[del3]_MA (Mass Array) | Qiagen | 60 | 57,41 | 98,57,41 | 98
CCDC39_AA_1 (Access Array) | Qiagen | 62 | 134, 235 | 369, 235, 134 | 369
CCDC39_AA_3 (Access Array) | Qiagen
CCDC66_AA_1 (Access Array) | Qiagen | 60 | None | None | None
CHAT_AA_1 (Access Array) | Qiagen | 60 | 224, 107, 37 | 331, 224, 107, 37 | 331, 37
CLCN1_AA_1 (Access Array) | Qiagen | 60 | 158, 121, 55 | 280, 158, 121, 55 | 280, 55
CLN5_AA_3 (Access Array) | Qiagen | 60 | None | None | None
CLN6_AA_1 (Access Array) | Qiagen | 60 | 358 | 358199159 | 199159
CLN8_950GA_RD_1 (Size Determination) | Qiagen | 60 | 311 | 311, 217, 94 | 217, 94
CLN8_950GA_RD_3 (Size Determination) | Qiagen | 60 | 476 | 476, 288, 188 | 288, 188
CLN8_AA_1z (Access Array) | Qiagen | 60 | 231, 108 | 339, 231, 108 | 339
CNGA1_897Del_RD_1 (Size Determination) | Qiagen | 60 | 110, 81 | 110, 106, 81 | 106, 81
CNGA1_897Del_SD_2 (Size Determination) | Qiagen | 60 | 80 | 80, 76 | 76
CNGA1_897Del_SD_3 (Size Determination) | Qiagen | 60 | 69 | 69, 65 | 65
CNGB1[Indel]_SD_1 (Size Determination) | Qiagen | 60 | 99 | 99104 | 104
CNGB3_2_AA_1 (Access Array) | Qiagen | 60 | 365 | 365, 231, 134 | 134, 231
CNGB3_2_AA_1 (Access Array) | Qiagen | 60 | None | None | None
CNGB3_AA_A_2 (Access Array) | Qiagen | 60 | 369 | 369 | None
CNGB3_AA_B_2 (Access Array) | Qiagen | 60 | 366 | 366 | None
CNGB3_AA_B_3 (Access Array) | Qiagen | 60 | 317 | 317413 | 413
CNGB3_AA_C_1_1 (Access Array) | Qiagen | 60 | None | 434 | 434
CNGB3_AA_C_2_1 (Access Array) | Qiagen | 60 | 317 | 317413 | 413
CNGB3_SD_B_2 (Size Determination) | Qiagen | 60 | 322 | 322 | 0
CNGB3_SD_C_2_1 (Size Determination) | Qiagen | 60 | 0 | 369 | 369
COL11A2_AA_2 (Access Array) | Qiagen | 60 | 229136 | 365229136 | 365
COL1A1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
COL1A2_AA_1 (Access Array) | Qiagen | 60 | 189, 159 | 353, 189, 159 | 353
COL4A4_1_AA_1 (Access Array) | Qiagen
COL4A4_2_AA_1 (Access Array) | Qiagen | 60 | 261,74 | 335,261,74 | 335
COL4A4_2_AA_2 (Access Array) | Qiagen | 60 | 207, 162 | 369, 207, 162 | 369
COL4A5_1_AA_1 (Access Array) | Qiagen | 60 | 240, 100 | 240, 204, 100, 36 | 204, 100, 36
COL4A5_2_AA_1 (Access Array) | Qiagen | 60 | 220, 143 | 353, 220, 143 | 353
COL7A1_AA_1 (Access Array) | Qiagen | 60 | 190, 105, 63 | 295, 190, 105, 63 | 295, 63
COL9A3_MC_2 Forward (Mass-Cleave Forward) | Sequenom | 62 | 5673.532 | 5673.532,6018.741 | 6018.741
COL9A3_MC_2 Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 4805.976 | 4805.976,5095.161 | 5095.161
COLQ_737TC_RD_1 (Size Determination) | Qiagen | 60 | 188, 77 | 265, 188, 77 | 265
COLQ_737TC_RD_2 (Size Determination) | Qiagen | 60 | 191101 | 292191101 | 292
COLQ_737TC_RD_2 (Size Determination) | Qiagen | 60 | 292 | 292191101 | 191101
COLQ_737TC_RD_2 (Size Determination) | Qiagen | 60 | 191, 101 | 292, 191, 101 | 292
COMMD1.C_AA_C_1 (Access Array) | Qiagen | 60 | 344342 | 344342407 | 407
COMMD1.C_AA_C_1 (Access Array) | Qiagen | 60 | 302,0 | 302385 | 0,385
COMMD1_A_AA_2 (Access Array) | Qiagen | 60 | 344 | 344 | None
COMMD1_B_AA_1 (Access Array) | Qiagen | 60 | 342 | 342 | None
COMMD1_C_AA_1 (Access Array) | Qiagen | 60 | None | 442 | 442
COMMD1_C_AA_A_1 (Access Array) | Qiagen | 60 | 302,0 | 302385 | 0,385
CTSD_AA_1 (Access Array) | Qiagen | 60 | 214, 107 | 321, 214, 107 | 321
DIRAS1_564Del_SD_1 (Size Determination) | ZymoTaq | 60 | 76 | 76, 72 | 72
DIRAS1_564Del_SD_2 (Size Determination) | ZymoTaq | 60 | 62 | 62, 58 | 58
DMD_670ins_InsC (Size Determination) | ZymoTaq | 60 | 0 | 234 | 234
DMD_670Ins_SD_1 (Size Determination) | ZymoTaq | 60 | 184 | 664184 | 664
DMD_946AG_RD_1 (Size Determination) | Qiagen | 60 | 319 | 319,248,71 | 248,71
DMD_946AG_RD_2 (Size Determination) | Qiagen | 60 | 325 | 325190135 | 190135
DMD_AA_A_1 (Size Determination) | Qiagen
DMD_AA_A_2 (Size Determination) | Qiagen | 60 | 369 | 369212157 | 212157
DMD_B_AA_1 (Access Array) | Qiagen | 60 | 228110 | 338228110 | 338
DMD_C_AA_C_3 (Access Array) | Qiagen | 64 | 155 | 635155 | 635
DNM1[G/T]_PMSA_1 Mod 5 (PAMSA) | Qiagen | 64 | 93 | 93,83 | 83
DNM1_AA_2 (Access Array) | Qiagen | 60 | 361 | 361156205 | 205156
DNM1_AA_2 (Access Array) | Qiagen | 60 | 361 | 361220141 | 220141
EDA_AA_1 (Access Array) | Qiagen | 60 | 208, 157 | 365, 208, 157 | 365
ENAM[del] (SNP-Type) | Qiagen | 60 | 86 | 86,81 | 81
F7_895GA_RD_1 (Size Determination) | ZymoTaq | 60 | 200,66,13,3 | 200,169,66,31,13,3 | 169,66,31,13,3
F7_895GA_RD_2 (Size Determination) | ZymoTaq | 60 | 146,66,58,19,3 | 146,115,66,58,31,19,3 | 115,66,58,31,19,3
F7_895GA_RD_3 (Size Determination) | ZymoTaq | 60 | 239,52,26,3 | 239,208,52,31,26,3 | 208,52,31,26,3
F7_895GA_RD_4 (Size Determination) | ZymoTaq | 60 | 62,49,3 | 62,49,31,31,3 | 49,31,31,3
F7_895GA_RD_5 (Size Determination) | ZymoTaq | 60 | 131,6 | 131,100,31,6 | 100,31,6
F7_AA_1z (Size Determination) | ZymoTaq | 60 | 168,66,58,41,3 | 168,137,66,58,41,31,3 | 137,66,58,41,31,3
F7_AA_1z (Access Array) | Qiagen | 60 | 292 | 183, 108 | 292
F7_AA_1z (Access Array) | Qiagen | 60 | None | None | None
F7_AA_4 (Access Array) | ZymoTaq | 60 | 239,74,48,3 | 239,208,74,48,31,3 | 208,74,48,31,3
F8_AA_1 (Access Array) | Qiagen | 60 | 204, 133 | 339, 204, 133 | 339
F8_AA_1 (Access Array) | Qiagen | 60 | 151,97,91 | 242,151,97,91 | 242,91
F9_4_AA_1 (Access Array) | Qiagen | 60 | 241, 99 | 340, 241, 99 | 340
F9_5_AA_1 (Access Array) | Qiagen | 60 | 186, 146 | 332, 186, 146 | 332
FAM134B_639Inv_1 (Size Determination) | ZymoTaq | 60 | None | 104 | 104
FAM134B_639Inv_2 (Size Determination) | ZymoTaq | 60 | 108 | 108 | None
FAM134B_639Inv_4 (Size Determination) | ZymoTaq | 60 | 108 | 108 | None
FAM134B_639Inv_5 (Size Determination) | ZymoTaq
FAM134B_639Inv_6 (Size Determination) | ZymoTaq | 60 | 377 | 377 | None
FAM83H_AA_1 (Access Array) | Roche | 60 | 322 | 322, 203, 118 | 203118
FAM83H_AA_1 (Access Array) | Roche | 60 | 322 | 322, 203, 118 | 203118
FAN1.C_AA_C_1 (Access Array) | Qiagen | 60 | 669 | 669348 | 348
FAN1.C_SD_C_1 (Size Determination) | Qiagen | 60 | 625 | 625304 | 304
FAN1_B_AA_2 (Access Array) | Qiagen | 60 | 337 | 337 | 0
FAN1_C_AA_2 (Access Array) | Qiagen | 60 | 656 | 656334 | 334
FAN1_C_AA_A_1 (Access Array) | Qiagen | 60 | 366 | 366 | 0
FAN1_C_AA_B_1 (Access Array) | Qiagen | 60 | 358 | 358 | 0
FAN1_C_SD_2 (Size Determination) | Qiagen | 60 | 612 | 612290 | 290
FAN1_C_SD_A_1 (Size Determination) | Qiagen | 60 | 322 | 322 | 0
FAN1_C_SD_B_1 (Size Determination) | Qiagen | 60 | 314 | 314 | 0
FERMT3_AA_1 (Access Array) | Qiagen | 60 | 363 | 363200175 | 200175
FERMT3_AA_3 (Access Array) | Qiagen | 60 | 181150 | 348181150 | 348
FLCN_AA_1 (Access Array) | Qiagen | 60 | 354 | 354, 220, 134 | 220, 134
FOXI3[DUP]_RD_3 (Size Determination) | ZymoTaq | 58 | 567, 138, 87, 56, 45 | 567, 145, 138, 87, 56, 45 | 567, 145, 87, 56, 45
FOXI3[Dup]_SD_5 (Size Determination) | ZymoTaq | 63 | 120 | 127120 | 127
FOXI3_498DUP_SD_7 (Size Determination) | ZymoTaq | 62 | 102 | 109102 | 109
FUCA1_866Del_RD_2 (Size Determination) | ZymoTaq | 58 | 122, 84, 72 | 122, 108, 84, 72 | 108, 84, 72
FUCA1_866Del_RD_3 (Size Determination) | ZymoTaq | 58 | 215, 106 | 215, 106, 92 | 215, 92
FUCA1_866Del_SD_1 (Size Determination) | ZymoTaq | 58 | 132 | 132, 118 | 118
G6PC_AA_2 (Access Array) | Qiagen | 60 | 237, 116 | 353, 237, 116 | 353
GAA_AA_3 (Access Array) | Qiagen | 60 | 155,139,54 | 155,139,90,54,49 | 155,90,54,49
GALC_1_AA_1 (Access Array) | Qiagen | 60 | 319 | 397, 319 | 397
GALC_2_AA_1 (Access Array) | Qiagen
GLB1_1_AA_1 (Access Array) | Qiagen | 60 | 221, 129 | 327, 221, 129 | 327
GLB1_3_AA_1z (Access Array) | Qiagen | 60 | None | None | None
GRM1 (SNP-Type) | Qiagen | 60 | 82 | 144, 82 | 144
GRM1 (SNP-Type) | Qiagen | 62 | 82 | 144, 82 | 144
GRM1_AA_1 (Access Array) | ZymoTaq | 60 | 345 | 407345 | 407
GRM1_AA_4 (Access Array) | ZymoTaq | 60 | 358 | 420358 | 420
GUSB_1_AA_1 (Access Array) | Qiagen | 60 | 246, 119 | 365, 246, 119 | 365
GUSB_2_AA_1 (Access Array) | Qiagen | 60 | 218, 135 | 353, 218, 135 | 353
GUSB_2_AA_4 (Access Array) | Qiagen | 60 | 224,87,34,22 | 224,121,87,34,22 | 224,121,22
HCRTR2 (SNP-Type) | Qiagen | 60 | 108 | 334, 108 | 334
HCRTR2_1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
HCRTR2_2_AA_1 (Access Array) | Qiagen | 60 | 326 | 326, 206, 120 | 206, 120
HEXB_AA_1 (Access Array) | Qiagen | 60 | 354 | 354, 194, 159 | 194, 159
HSF4_1_HSF4_2_AA_1 (Access Array) | Qiagen | 60 | None | None | None
HSF4_MC_2 Forward (Mass-Cleave Forward) | Sequenom | 62 | 5184.276 | 5184.276,5473.461 | 5473.461
HSF4_MC_2 Forward (Mass-Cleave Forward) | Sequenom | 62 | 5473.461 | 5473.461,5762.646 | 5762.646
HSF4_MC_2 Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 4409.705 | 4409.705,4754.914 | 4754.914
HSF4_MC_2 Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 4754.914 | 4754.914,5100.123 | 5100.123
HSF4_MC_2 Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 3721.259 | 3721.259,4066.468 | 4066.468
HSF4_MC_2 Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 4066.468 | 4066.468,4411.677 | 4411.677
IDUA (SNP-Type) | Roche | 62 | 40, 15, 13 | 55, 40, 15, 13 | 55, 13
ITGA2B_1_AA_1 (Access Array) | Qiagen | 60 | 123,81,76,49 | 136,123,81,76,49 | 136,81,76,49
ITGA2B_1_AA_1 (Access Array) | Qiagen | 60 | 193, 136 | 193, 155, 136, 122, 65 | 155, 122, 65
ITGA2B_2_AA_2 (Access Array) | Qiagen | 60 | 173, 95, 51 | 268, 173, 95, 51 | 268, 51
ITGB2_AA_2 (Access Array) | Qiagen
KCNJ10_AA_1 (Access Array) | Roche | 62 | 329 | 83246329 | 83246
KLKB1_AA_2 (Access Array) | Qiagen | 60 | 213, 124 | 213, 124, 116, 97 | 124, 116, 97
KRT10_AA_1 (Access Array) | Qiagen | 60 | 220, 135 | 355, 220, 135 | 355
KRT71-B (SNP-Type) | Qiagen | 60 | 40,35 | 75,40,35 | 75
L2HGDH_1_AA_1 (Access Array) | Qiagen | 60 | 159, 97, 87 | 250, 159, 97, 87 | 250, 87
LGI2_AA_1 (Access Array) | Roche | 60 | 349 | 349, 185, 163 | 185, 163
MC5R_748AG_RD_1 (Size Determination) | Qiagen | 60 | 305152 | 457305152 | 457
MC5R_748AG_RD_2 (Size Determination) | Qiagen | 60 | 259,207,80 | 466,259,207,80 | 466,80
MFN2_AA_1 (Access Array) | Qiagen | 60 | None | None | None
MITF_232Del_SDM_4 (Size Determination) | Qiagen | 60 | 160 | 160258358 | 258358
MITF_232Del_SDM_5 (Size Determination) | ZymoTaq | 60 | 309 | 309213507 | 213507
MITF_232Del_SD_2 (Size Determination) | Qiagen | 60 | 356 | 356553 | 553
MITF_232Del_SD_4 (Size Determination) | Qiagen | 60 | 0 | 247 | 247
MITF_232Del_SD_5 (Size Determination) | Qiagen | 60 | 197 | 197394 | 394
MITF_AA_1 (Access Array) | Qiagen | 60 | 437 | 437239 | 239
MITF_MA (Mass Array) | Qiagen | 60 | 101 | 299101 | 299
MITF_SD_1 (Size Determination) | Qiagen | 60 | 357 | 357159 | 159
MLPH_AA_3 (Access Array) | Qiagen | 62 | 156, 115, 80 | 195, 156, 115, 80 | 195, 156
MTM1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
MYH9_AA_1 (Access Array) | Qiagen | 60 | 171, 108, 54 | 225, 171, 108, 54 | 225, 108
MYH9_AA_1z (Access Array) | Roche | 62 | 336 | 103233336 | 103233
NDRG1_AA_1 (Access Array) | Qiagen | 60 | 233101 | 233,128,101,95 | 128,101,95
NHEJ1.C_AA_C_2 (Access Array) | Qiagen | 60 | 0 | 368 | 368
NHEJ1[Del]_A+B_SD_2 (Size Determination) | Qiagen | 60 | 306232 | 306232103 | 103
NHEJ1_A_AA_1 (Access Array) | Qiagen
NHEJ1_B_AA_1 (Access Array) | Qiagen | 60 | 339 | 339 | 0
NHEJ1_C_AA_1 (Access Array) | Qiagen | 60 | 0 | 324 | 324
NHEJ1_C_AA_A_1 (Access Array) | Qiagen | 60 | 365 | 365 | 0
NHEJ1_C_AA_B_1 (Access Array) | Qiagen | 60 | 357 | 357 | 0
NIPAL4_279DelC_RD_1 (Size Determination) | ZymoTaq | 60 | 165, 106, 68 | 270, 165, 106, 68 | 270, 68
NIPAL4_279DelC_RD_2 (Size Determination) | ZymoTaq | 60 | 195, 92 | 287, 195, 92 | 287
NIPAL4_279DelC_RD_3 (Size Determination) | ZymoTaq | 60 | 267, 115 | 382, 267, 115 | 382
NKX2-8_895CT_RD_3 (Size Determination) | ZymoTaq | 58 | 253, 146, 75 | 329, 253, 146, 75 | 329, 146
NKX2-8_895CT_RD_4 (Size Determination) | ZymoTaq | 58 | 265, 67 | 332, 265, 67 | 332
NPHP4.C_AA_C_1 (Access Array) | Qiagen | 60 | 361354523 | 361354523343 | 343
NPHP4_A_AA_1 (Access Array) | Qiagen | 60 | 336 | 336 | 0
NPHP4_B_AA_2 (Access Array) | Qiagen | 60 | 349 | 349 | 0
NPHP4_C_AA_3 (Access Array) | Qiagen | 60 | 650 | 650470 | 470
NPHP4_C_AA_A_1 (Access Array) | Qiagen | 60 | 361354523 | 361354523343 | 343
NPHP4_C_AA_B_1 (Access Array) | Qiagen | 60 | 361354523 | 361354523343 | 343
NPHP4_MA_1 (Mass Array) | Qiagen | 60 | 248 | 248,68 | 68
NPHP4_SDM_1 (Size Determination) | Qiagen | 60 | 533207 | 533353207 | 353
NPHP4_SDM_2 (Size Determination) | Qiagen | 60 | 474183 | 474294183 | 294
P2RY12_AA_1 (Access Array) | Qiagen | 60 | 366 | 366, 187, 176 | 187, 176
PAMSA-MLPH-1 (PAMSA) | Qiagen | 62 | 117 | 117107 | 107
PAMSA-PRCD-2 (PAMSA) | Qiagen | 64 | 144 | 134144 | 134
PAMSA-SOD1-1 (PAMSA) | Qiagen | 66 | 99 | 89,99 | 89
PDE6A_AA_1 (Access Array) | Qiagen | 60 | None | None | None
PDE6B (SNP-Type) | Qiagen | 60 | 79 | 79, 87 | 87
PDE6B_1_PDE6B_2_2_AA_1 (Access Array) | Qiagen
PDK4 (SNP-Type) | Qiagen | 60 | 142 | 126142 | 126
PDK4[Del16]_SD_1 (Size Determination) | Qiagen | 60 | 130 | 114130 | 114
PDK4_AA_2 (Access Array) | Qiagen | 60 | 339 | 339323 | 323
PDK4_AA_2 (Access Array) | Qiagen | 60 | 242,97 | 323,242,97 | 323
PDP1_AA_1 (Access Array) | Qiagen | 60 | 364 | 364245119 | 245119
PFKM_1_AA_1 (Access Array) | Qiagen | 60 | 173, 166 | 339, 173, 166 | 339
PFKM_2_AA_1 (Access Array) | Qiagen | 60 | 170, 172 | 338, 172, 170 | 338
PKD1_AA_1 (Access Array) | Qiagen | 62 | 224, 146 | 370, 224, 146 | 370
PKD1_AA_3 (Access Array) | Roche | 60 | 370 | 172198370 | 172198
PKLR[Ins6]_SD_1 (Access Array) | Qiagen | 62 | 76 | 82,76 | 82
PKLR_2_AA_4 (Access Array) | Qiagen | 60 | 216, 123 | 317, 216, 123 | 317
PKLR_3_AA_2 (Access Array) | Qiagen | 60 | 181, 109, 46 | 181, 155, 109, 46 | 181, 155
PKLR_4_AA_1 (Access Array) | Qiagen | 60 | 163, 158 | 321, 163, 158 | 321
PKLR_5_AA_1 (Access Array) | Qiagen | 60 | 241, 78 | 319, 241, 78 | 319
PKP1_531GC_RD_1 (Size Determination) | ZymoTaq | 60 | 118,106,101,73,39,30,28,23,18,14 | 191,118,106,101,73,39,30,28,23 | 191,106,101,39,30,28,23,18,14
PKP1_531GC_RD_3 (Size Determination) | ZymoTaq | 60 | 85,73,66,18,14,10,1 | 139,85,73,66,18,14,10,1 | 139,85,18,14,10,1
PLA2G6_820GA_RD_1 (Size Determination) | ZymoTaq | 60 | 104, 85 | 189, 104, 85 | 189
PLA2G6_820GA_RD_2 (Size Determination) | ZymoTaq | 60 | 168, 53 | 221, 168, 53 | 221
PLA2G6_820GA_RD_3 (Size Determination) | ZymoTaq | 60 | 180, 117 | 297, 180, 117 | 297
PMEL_837Ins_MA_F1R1 (Size Determination) | Qiagen | 56 | 83 | 83,00 | 0
PMEL_837Ins_SD_4 (Size Determination) | Qiagen | 60 | 60 | 60270340 | 270340
PMEL_837Ins_SD_5 (Size Determination) | Qiagen | 60 | 206 | 206474 | 474
PMEL_AA_1 (Access Array) | Qiagen | 60 | 359 | 627359 | 627
PMEL_SD3_VIC (Size Determination) | Qiagen | 60 | 157 | 157272 | 272
PMEL_SD4_FAM (Size Determination) | Qiagen
PMEL_SD_3 (Size Determination) | Qiagen | 60 | 160 | 428160 | 428
PNPLA1 (SNP-Type) | Qiagen | 60 | 82 | 87, 82 | 87
PNPLA1[Ins]_SD_1 (Size Determination) | Qiagen | 60 | 59 | 64,59 | 64
PNPLA1_AA_3 (Access Array) | Qiagen | 60 | None | None | None
PPT1_AA_1 (Access Array) | Qiagen | 60 | 198, 134 | 338, 198, 134 | 338
PRCD_AA_1 (Access Array) | Qiagen | 60 | 346 | 346200146 | 200146
PRCD_AA_1 (Access Array) | Qiagen | 60 | 200, 146 | 346, 200, 146 | 346
PRKDC_AA_2z (Access Array) | Qiagen | 60 | 192, 96, 55 | 192, 151, 96, 55 | 192, 151
PSMB7 (SNP-Type) | Qiagen | 60 | 38,36 | 74,38,36 | 74
PSMB7_AA_1 (Access Array) | Qiagen | 60 | 159181 | 340181159 | 340
PSMB7_MA (Mass Array) | Qiagen | 60 | 98,32 | 130,98,32 | 130
PSMB7_RD_1 (Size Determination) | Qiagen | 60 | 159137 | 296159137 | 296
PTPLA-2 (Size Determination) | Qiagen | 60 | None | 501 | 501
PTPLA-3 (Size Determination) | Qiagen | 60 | None | 274 | 274
PTPLA-3-64deg (Size Determination) | Qiagen | 64 | None | 274 | 274
PTPLA_988Ins_SDM_2 (Size Determination) | Qiagen | 68 | 610 | 610480 | 480
PTPLA_988Ins_SD_5 (Size Determination) | Qiagen | 60 | 283 | 283519 | 519
PTPLA_988Ins_SD_6 (Size Determination) | Qiagen | 60 | 610 | 610847 | 846
PTPLA_AA_1z (Access Array) | Qiagen | 60 | 327 | 327, 576 | 576
PTPLA_SD_4 (Size Determination) | Qiagen | 68 | 0 | 394 | 394
RAG1_AA_1 (Access Array) | Qiagen | 60 | 199, 136 | 335, 199, 136 | 335
RASGRP1_1_AA_1 (Access Array) | Qiagen | 60 | 219, 114 | 327, 219, 114 | 327
RASGRP1_1_AA_1 (Access Array) | Qiagen | 60 | 330 | 330, 182, 149 | 182, 149
RASGRP1_3_AA_1 (Access Array) | Qiagen | 60 | None | None | None
RD3Ins_SD_1 (Size Determination) | ZymoTaq
RD3_RD_11G (Size Determination) | ZymoTaq | 58 | 445, 308, 65, 54, 23 | 445, 308, 87, 65, 54, 23 | 445, 308, 87, 54, 23
RD3_SD_3G (Size Determination) | ZymoTaq | 60 | 194 | 216194 | 216
RHO_AA_1 (Access Array) | Qiagen | 60 | 234, 93 | 327, 234, 93 | 327
RPE65 [del] (SNP-Type) | Qiagen | 60 | 97 | 97,93 | 93
RPE65_AA_2 (Access Array) | Qiagen | 60 | None | None | None
RPE65_SD_1 (Size Determination) | Qiagen | 60 | 61 | 61,57 | 57
RPGRIP1 (SNP-Type) | Qiagen | 60 | 81 | 125, 81 | 125
RPGRIP1_SD_2 (Size Determination) | Qiagen | 60 | 298 | 342298 | 342
RSPO2_419Ins_MA_2 (Size Determination) | Qiagen | 60 | 126 | 267126 | 267
RSPO2_419Ins_MA_3 (Mass Array) | Qiagen | 60 | 579 | 746579 | 746
RSPO2_AA_1 (Access Array) | Qiagen | 60 | 387 | 610387 | 610
RSPO2_Ins_MA_2 (Mass Array) | Qiagen | 60 | 341 | 341508 | 508
RSPO2_MA (Mass Array) | Qiagen | 60 | 117 | 258117 | 258
RSPO2_MA (Mass Array) | Qiagen | 60 | 138 | 305138 | 305
RYR1_AA_1z (Access Array) | Qiagen | 60 | 266, 81 | 347, 266, 81 | 347
SEL1L_AA_3 (Access Array) | Qiagen | 60 | 273, 96 | 369, 273, 96 | 369
SERAC1[Del4]_SD_1 (Access Array) | Qiagen | 60 | 53 | 53,49 | 49
SERAC1_AA_KBT_2 (Access Array) | Qiagen | 60 | 273,80 | 353,273,80 | 353
SERPINH1_AA_1 (Access Array) | Qiagen | 60 | 355 | 355178177 | 178177
SGSH_1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
SGSH_2_AA_2 (Access Array) | Qiagen | 60 | 334 | 334, 211, 124 | 211, 124
SLC13A1_771Del_SD_1+2 (Size Determination) | Qiagen | 60 | 399566 | 209399566 | 209
SLC13A1_771Del_SD_3+4 (Size Determination) | Qiagen | 60 | 282414 | 196282414 | 196
SLC13A1_AA_A_2 (Access Array) | Qiagen | 60 | 336354 | 336354375 | 375
SLC13A1_AA_A_3 (Access Array) | Qiagen
SLC13A1_AA_B_1 (Access Array) | Qiagen | 60 | 364,365,0 | 364365474 | 0,0,474
SLC13A1_AA_B_2 (Access Array) | Qiagen | 60 | 336354 | 336354375 | 375
SLC13A1_AA_C_2_1 (Access Array) | Qiagen | 60 | 364,365,0 | 364365474 | 0,0,474
SLC13A1_C_1_1 (Access Array) | Qiagen | 60 | 336354 | 336354375 | 375
SLC19A3_AA_2 (Access Array) | Qiagen | 60 | 213150 | 213,150,120,34 | 213,120,34
SLC2A9_AA_1z (Access Array) | Qiagen | 60 | 154,119,93 | 212,154,119,93 | 212154
SLC2A9_RD_1z (Size Determination) | Qiagen | 60 | 132,97,93 | 190,132,97,93 | 190132
SLC3A1 (SNP-Type) | Qiagen | 68 | 44,39 | 44,39,38,36,8 | 38,36,8
SLC3A1_948DelG_RD_2 Mod 6 (Size Determination) | Qiagen | 65 | 84,46 | 96,84,46,45,8 | 96,45,8
SLC3A1_AA_1 (Access Array) | Qiagen | 60 | 209111 | 209,133,111,76 | 133,111,76
SLC3A1_B_AA_2 (Access Array) | Roche | 62 | 339 | 339220119 | 220119
SLC45A2_275Del_SD_ 1F/A3R/1R2 (Size Determination) | ZymoTaq | 60 | 143 | 382, 143 | 382
SLC45A2_275Del_SD_A3F/2R1/2R2 (Size Determination) | ZymoTaq | 60 | 395 | 395, 221 | 221
SLC4A3_MC_2_Forward (Mass-Cleave Forward) | Sequenom | 62 | 5713.556 | 5713.556,6002.741 | 6002.741
SLC4A3_MC_2_Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 5372.321 | 5372.321,5717.53 | 5717.53
SLC4A3_MC_3_Forward (Mass-Cleave Forward) | Sequenom | 62 | 5713.556 | 5713.556,6002.741 | 6002.741
SLC4A3_MC_3_Reverse (Mass-Cleave Reverse) | Sequenom | 62 | 5372.321 | 5372.321,5717.53 | 5717.53
SLC6A5.C_AA_C_1 (Access Array) | ZymoTaq | 60 | 0 | 369 | 369
SLC6A5.C_AA_C_1 (Access Array) | ZymoTaq | 60 | 0 | 369 | 369
SLC6A5_698Del_SD_A_1 (Size Determination) | ZymoTaq | 60 | 266 | 266 | 0
SLC6A5_698Del_SD_B_1 (Size Determination) | ZymoTaq | 60 | 392 | 392 | 0
SLC6A5_698Del_SD_C_1 (Size Determination) | ZymoTaq | 60 | 0 | 154 | 154
SLC6A5_698Del_SD_C_2 (Size Determination) | ZymoTaq | 60 | 0 | 130 | 130
SLC6A5_B_AA_2 (Access Array) | ZymoTaq | 60 | 334 | 334 | 0
SLC6A5_C_AA_1 (Size Determination) | ZymoTaq
SLC6A5_C_AA_A_2 (Access Array) | ZymoTaq | 60 | 337 | 337 | 0
SLC6A5_C_AA_A_2 (Access Array) | ZymoTaq | 60 | 337 | 337 | 0
SLC6A5_C_AA_B_1 (Access Array) | Qiagen | 60 | None | None | None
SOD1_AA_1 (Access Array) | Qiagen | 60 | 77, 49, 213 | 262, 213, 77, 49 | 77, 262
SOD1_AA_1 (Access Array) | Qiagen | 60 | 213,77,49 | 262,213,77,49 | 262,77
SOD1_AT_SD_2 (Size Determination) | ZymoTaq | 58 | 37, 34 | 71, 37, 34 | 71
SOD1_AT_SD_2F/1R (Size Determination) | ZymoTaq | 58 | 79, 69, 62, 37 | 99, 79, 69, 62, 37 | 99, 79, 69
SOD1_AT_SD_3 (Size Determination) | ZymoTaq | 60 | 69, 62, 27, 22 | 89, 69, 62, 27, 22 | 89, 69, 22
SOD1_AT_SD_4 (Size Determination) | ZymoTaq | 58 | 55, 23 | 78, 55, 23 | 78
SPTBN2_AA_1 (Access Array) | Qiagen | 60 | 192, 111, 45 | 192, 148, 111, 45 | 192, 148
SPTB_AA_1 (Access Array) | Qiagen | 60 | 145, 99, 81 | 244, 145, 99, 81 | 244, 81
STK38L_A_AA_1z (Access Array) | Qiagen | 60 | 368 | 612, 368 | 612
SUV39H2_AA_3 (Access Array) | Qiagen | 60 | 364 | 364259105 | 259105
SUV39H2_RD_3 (Size Determination) | Qiagen | 60 | 320 | 320,237,83 | 237,83
TECPR2_320CT_RD_1 (Size Determination) | Qiagen | 60 | 92, 43, 23 | 115, 92, 43, 23 | 115, 43
TECPR2_320CT_RD_2 (Size Determination) | Qiagen | 60 | 80, 76, 27 | 103, 80, 76, 27 | 103, 80
TPO_2_AA_1 (Access Array) | Qiagen | 60 | 190, 176 | 366, 190, 176 | 366
TPO_2_AA_1z (Access Array) | Qiagen | 60 | 230108 | 338230108 | 338
TPO_660CT_RD_1 (Size Determination) | Qiagen | 60 | 208,88 | 296,208,88 | 296
TPO_660CT_RD_2 (Size Determination) | Qiagen | 60 | 274168 | 442274168 | 442
TPP1_AA_1 (Access Array) | Qiagen | 60 | 193, 166 | 358, 193, 166 | 358
tRNA_Tyr_AA_1 (Access Array) | Qiagen | 60 | 328 | 328, 170, 158 | 170, 158
TUBB1_AA_1 (Access Array) | Qiagen | 60 | None | None | None
TYRP1[T-A]_PMSA_2 Mod 1 (PAMSA) | Qiagen | 70 | 94 | 94,84 | 84
VPS13B (SNP-Type) | Qiagen
VPS13B[Del4]_SD_1 (Size Determination) | Qiagen | 65 | 51 | 51,47 | 47
VPS13B_AA_3 (Access Array) | Roche | 64 | 319 | 319, 212, 103 | 212, 103
VWF2_AA_1 (Access Array) | Qiagen | 60 | 349 | 348, 232, 117 | 232, 117
VWF3_1_AA_3 (Access Array) | Qiagen | 60 | 347 | 347, 267, 79 | 267, 79
VWF3_2_AA_1 (Access Array) | Qiagen | 60 | None | None | None
VWFI[G/A]_PMSA_1 Mod 2 (PAMSA) | Qiagen | 70 | 96 | 96,86 | 86
VWFI[G/A]_PMSA_3 Mod 5 (PAMSA) | Qiagen